## Operable
2016 Form EIA-860 Data - Schedule 3, 'Energy Storage Data' (Operable Units Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
9216 | Imperial Irrigation District | 389 | El Centro | CA | Imperial | BESS | OP | Batteries | BA | Electric Utility | 1 | 30 | 28 | 29 | 10 | 2016 | 20 | 30 | 30 | LIB |  |  |  | 14.4 | BL | N | Y | Y | Y | N |  |  |  | Y |  | Y
9273 | Indianapolis Power & Light Co | 990 | Harding Street | IN | Marion | BAT1 | OP | Batteries | BA | Electric Utility | 1 | 20 | 20 | 20 | 6 | 2016 | 20 | 20 | 20 | LIB |  |  |  | 20 | BL |  | Y
31719 | FPL Energy Wyman LLC | 1507 | William F Wyman | ME | Cumberland | BESS | OP | Batteries | BA | IPP Non-CHP | 2 | 16.7 | 16.2 | 16.2 | 12 | 2016 | 10.9 | 16.7 | 16.2 | LIB |  |  |  | 10.2 | CS |  | Y
3542 | Duke Energy Ohio Inc | 2830 | Walter C Beckjord | OH | Clermont | BECK1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2015 | 1 | 2 | 2 | OTH |  |  |  | 2 | CS |  | Y
3542 | Duke Energy Ohio Inc | 2830 | Walter C Beckjord | OH | Clermont | BECK2 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 11 | 2015 | 0.8 | 2 | 2 | OTH |  |  |  | 2 | CS |  | Y
17609 | Southern California Edison Co | 6704 | Pebbly Beach | CA | Los Angeles | NASB1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2012 | 6.8 | 1 | 1 | NAB |  |  |  | 0.8 | CS |  |  |  | Y |  |  | Y | Y | Y
189 | PowerSouth Energy Cooperative | 7063 | McIntosh (AL) | AL | Washington | 1 | OP | Natural Gas with Compressed Air Storage | CE | Electric Utility | 1 | 110 | 110 | 110 | 6 | 1991 | 110 | 52 | 110 |  |  |  |  | 0.9 | BL |  |  | Y |  |  |  | Y | Y | Y
54736 | AltaGas Pomona Energy Inc. | 50300 | AltaGas Pomona Energy Inc. | CA | Los Angeles | BESS1 | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 12 | 2016 | 20 | 20 | 20 | LIB |  |  |  | 0 | BL |  | Y | Y |  |  |  | N | N | N | N
6862 | Green Mountain Storage, LLC | 55370 | Green Mountain Storage, LLC | PA | Somerset | BGM | OP | Batteries | BA | IPP Non-CHP | 2 | 10.4 | 10.4 | 10.4 | 5 | 2016 | 10.4 | 10.4 | 10.4 | LIB |  |  |  | 10.4 | CT |  | Y
6865 | FPL Energy Meyersdale Windpower LLC | 56052 | Meyersdale Windpower | PA | Somerset | BMY | OP | Batteries | BA | IPP Non-CHP | 2 | 18 | 18 | 18 | 12 | 2015 | 18 | 18 | 18 | LIB |  |  |  | 18 | CT |  | Y
17609 | Southern California Edison Co | 56472 | Grapeland Peaker | CA | San Bernardino | BA1 | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 4 | 1 | 1 | LIB |  |  |  | 6 | CS | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
17609 | Southern California Edison Co | 56475 | Center Peaker | CA | Los Angeles | BA1 | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 4 | 1 | 1 | LIB |  |  |  | 6 | CS | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
56023 | Arizona Solar One LLC | 56812 | Solana Generating Station | AZ | Maricopa | GEN 1 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 140 | 147.7 | 140 | 10 | 2013 | [16 empty] | Y |  |  | Y
56023 | Arizona Solar One LLC | 56812 | Solana Generating Station | AZ | Maricopa | GEN2 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 140 | 147.7 | 140 | 10 | 2013 | [16 empty] | Y |  |  | Y
56272 | Duke Energy DEGS Notrees | 56961 | Notrees Windpower | TX | Ector | BATT | OP | Batteries | BA | IPP Non-CHP | 2 | 36 | 36 | 36 | 12 | 2012 | 13.6 | 36 | 36 | LIB |  |  |  | 36 | BL | N | Y | N | N | N | N | N | N | N | N | N
59155 | First Wind O&M, LLC | 57082 | Kaheawa Wind Power II LLC | HI | Maui | 2 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 6 | 2012
56641 | Tonopah Solar Energy LLC | 57275 | Crescent Dunes Solar Energy | NV | Nye | TSE-1 | OP | Solar Thermal with Energy Storage | CP | IPP Non-CHP | 2 | 125 | 110 | 110 | 11 | 2015
56678 | FPL Energy Illinois Wind LLC | 57325 | FPL Energy Illinois Wind LLC | IL | DeKalb | BFT | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 11 | 2014 | 8.3 | 20 | 20 | LIB |  |  |  | 0 | CS |  | Y
19740 | AES Wind Generation Inc | 57447 | Laurel Mountain | WV | Barbour | 2 | OP | Batteries | BA | IPP Non-CHP | 2 | 32 | 32 | 32 | 10 | 2011 | 32 | 32 | 32 | LIB |  |  |  | 0 | CS |  | Y
7353 | Golden Valley Elec Assn Inc | 57583 | Battery Energy Storage System | AK | Fairbanks North Star | BESS | OP | Batteries | BA | Electric Utility | 1 | 40 | 40 | 40 | 12 | 2003 | 11 | 4 | 40 | NIB |  |  |  | 46 | BL |  | Y |  | Y |  |  |  |  | Y |  | N
56918 | University of California San Diego | 57584 | University of California San Diego | CA | San Diego | BS1 | OP | Batteries | BA | Commercial CHP | 5 | 2.5 | 2.5 | 2.5 | 12 | 2015 | 2.5 | 2.5 | 2.5 | LIB |  |  |  | 2.5 | CS |  |  | Y |  |  |  | Y | Y
57031 | Beacon Power LLC | 57710 | Stephentown Spindle | NY | Rensselaer | SRS1 | OP | Flywheels | FW | IPP Non-CHP | 2 | 20 | 20 | 20 | 1 | 2011 | 5 | 20 | 20 |  |  |  |  | 0 | CS |  | Y
57031 | Beacon Power LLC | 57716 | Hazle Spindle | PA | Luzerne | HRS1 | OP | Flywheels | FW | IPP Non-CHP | 2 | 20 | 20 | 20 | 9 | 2013 | 5 | 20 | 20 |  |  |  |  | 0 | CS |  | Y
57372 | Auwahi Wind Energy LLC | 57996 | Auwahi Wind Energy | HI | Maui | AWEB | OP | Batteries | BA | IPP Non-CHP | 2 | 11 | 11 | 11 | 12 | 2012 | 4.4 | 11 | 11 | LIB |  |  |  | 5.4 | CS |  |  |  | Y
11204 | Los Alamos County | 58256 | Los Alamos PV Site | NM | Los Alamos | 2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 9 | 2012 | 6 | 1 | 1 | NAB |  |  |  | 750 | CS |  |  |  | Y
11204 | Los Alamos County | 58256 | Los Alamos PV Site | NM | Los Alamos | 3 | OP | Batteries | BA | Electric Utility | 1 | 0.8 | 0.8 | 0.8 | 9 | 2012 | 2.3 | 0.8 | 0.8 | PBB |  |  |  | 600 | CS |  |  |  | Y
10433 | Kodiak Electric Assn Inc | 58405 | ESS Battery | AK | Kodiak Island | 1 | OP | Batteries | BA | Electric Utility | 1 | 3 | 3 | 3 | 11 | 2012 | 3 | 3 | 3 | PBB |  |  |  | 3 | CS | N | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
58462 | Battery Utility of Ohio LLC | 58475 | Battery Utility of Ohio | OH | Delaware | BOU | OP | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 | 3 | 2014 | 34.2 | 35.4 | 36.4 | LIB |  |  |  | 0 | CS |  | Y
58489 | OCI Solar Power | 58537 | OCI Alamo Solar I | TX | Bexar | ASTRO | OP | Batteries | BA | IPP Non-CHP | 2 | 1 | 1 | 1 | 8 | 2016 | 0.3 | 1 | 1 | LIB |  |  |  | 0 | CS |  | Y
13781 | Northern States Power Co - Minnesota | 58579 | Laverne Battery | MN | Rock | 1 | OP | Batteries | BA | Electric Utility | 1 | 1.1 | 1 | 1 | 1 | 2013 | 7.6 | 1 | 1 | NAB |  |  |  | 1.3 | CS | [5 empty] | Y
58549 | County of Alameda GSA | 58625 | Santa Rita Jail | CA | Alameda | SRJBA | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 7 | 2012 | 4 | 0.3 | 0.3 | LIB |  |  |  | 2 | CS | [6 empty] | Y
10071 | Kauai Island Utility Cooperative | 58639 | KRS I Anahola Solar | HI | Kauai | B5B6 | OP | Batteries | BA | Electric Utility | 1 | 6 | 6 | 6 | 8 | 2015 | 4.6 | 0.7 | 6 | LIB |  |  |  | 6 | CS |  | Y |  |  | Y |  |  |  |  | Y | Y
10071 | Kauai Island Utility Cooperative | 58640 | KRS II Koloa Solar | HI | Kauai | BESS3 | OP | Batteries | BA | Electric Utility | 1 | 1.5 | 1.5 | 1.5 | 6 | 2014 | 1 | 0.7 | 1.5 | PBB |  |  |  | 1.5 | CS |  | Y
58702 | AES Energy Storage | 58826 | AES ES Tait | OH | Montgomery | TTES | OP | Batteries | BA | IPP Non-CHP | 2 | 20 | 20 | 20 | 9 | 2013 | 4 | 20 | 20 | LIB |  |  |  | 20 | CS |  |  |  | Y
15473 | Public Service Co of NM | 58899 | Prosperity Energy Storage Facility | NM | Bernalillo | GEN-2 | OP | Batteries | BA | Electric Utility | 1 | 0.8 | 0.8 | 0.8 | 9 | 2011 | 1.3 | 0.5 | 0.5 | PBB |  |  |  | 0 | CS | Y | [5 empty] | Y | Y |  |  | Y
14328 | Pacific Gas & Electric Co | 59256 | Vaca Dixon Battery Storage System | CA | Solano | BAT1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2013 | 14 | 2 | 2 | NAB |  |  |  | 2.5 | CS | Y | Y |  | Y
14328 | Pacific Gas & Electric Co | 59257 | Yerba Buena | CA | Santa Clara | YB1 | OP | Batteries | BA | Electric Utility | 1 | 4 | 4 | 4 | 11 | 2013 | 28 | 4 | 4 | NAB |  |  |  | 5 | CS | Y | Y |  | Y | [5 empty] | Y
17609 | Southern California Edison Co | 59661 | Tehachapi Energy Storage Project | CA | Kern | TSP1 | OP | Batteries | BA | Electric Utility | 1 | 8 | 8 | 8 | 4 | 2016 | 32 | 8 | 8 | LIB |  |  |  | 4 | BL | Y | Y | Y |  | Y |  | Y |  | Y |  | Y
10000 | Kansas City Power & Light Co | 59772 | KCP&L SmartGrid Innovation Park | MO | Jackson | 1 | SB | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 6 | 2012 | 1 | 1 | 1 | LIB |  |  |  | 1.3 | CS | [6 empty] | Y
59712 | AES Tait LLC | 59949 | AES Warrior Run Energy Storage Project | MD | Allegany | BESS1 | OP | Batteries | BA | IPP Non-CHP | 2 | 11 | 11 | 11 | 12 | 2015 | 3.7 | 10 | 10 | LIB |  |  |  | 10 | BL |  | Y
49893 | Invenergy Services LLC | 59957 | Grand Ridge Battery Projects | IL | LaSalle | GIVB | OP | Batteries | BA | IPP Non-CHP | 2 | 1.5 | 1.5 | 1.5 | 12 | 2013 | 1 | 1.5 | 1.5 | LIB |  |  |  |  | CT |  | Y
49893 | Invenergy Services LLC | 59957 | Grand Ridge Battery Projects | IL | LaSalle | GRES | OP | Batteries | BA | IPP Non-CHP | 2 | 31.5 | 31.5 | 31.5 | 3 | 2015 | 12.5 | 31.5 | 31.5 | LIB |  |  |  | 0.5 | CT |  | Y
59718 | West Chicago Battery Storage LLC | 59959 | Elwood Energy Storage Center | IL | DuPage | WCBS | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 10 | 2015 | 34.7 | 35.2 | 36.2 | LIB |  |  |  | 0 | CS | N | Y
59717 | Joliet Battery Storage LLC | 59960 | Jake Energy Storage Center | IL | Will | JBS | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 9 | 2015 | 34.7 | 35.2 | 36.2 | LIB |  |  |  | 0 | CS |  | Y
733 | Appalachian Power Co | 59995 | AEP Milton NaS | WV | Cabell | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 11 | 2009 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
17470 | PUD 1 of Snohomish County | 60016 | MESA 1 | WA | Snohomish | A | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 7 | 2015 | 0.5 | 1 | 1 | LIB |  |  |  | 0.9 | CS | Y | [5 empty] | Y | Y
17470 | PUD 1 of Snohomish County | 60016 | MESA 1 | WA | Snohomish | B | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 2 | 2016 | 0.5 | 1 | 1 | LIB |  |  |  | 0.9 | CS | Y | [5 empty] | Y | Y
60947 | Tesla Inc. | 60231 | Genentech-Oceanside | CA | San Diego | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 4 | 2016 | 2 | 1 | 1 | LIB |  |  |  | 1 | CS | [7 empty] | Y |  | Y | Y
60094 | Clinton Battery Utility, LLC | 60297 | Clinton Battery | OH | Clinton | 1 | OP | Batteries | BA | IPP Non-CHP | 2 | 10 | 10 | 10 | 10 | 2016 | 4.1 | 10 | 10 | LIB |  |  |  | 3.2 | CS |  | Y
59209 | Half Moon Ventures, LLC | 60299 | HMV Minster Energy Storage System | OH | Auglaize | MIN02 | OP | Batteries | BA | IPP Non-CHP | 2 | 7 | 7 | 7 | 3 | 2016 | 7 | 7 | 7 | LIB |  |  |  | 5.3 | CS |  | Y | [5 empty] | Y | Y
49893 | Invenergy Services LLC | 60390 | Beech Ridge Energy Storage | WV | Greenbrier | BRES | OP | Batteries | BA | IPP Non-CHP | 2 | 31.5 | 31.5 | 31.5 | 10 | 2015 | 12.5 | 31.5 | 31.5 | LIB |  |  |  | 0.5 | CT |  | Y
15248 | Portland General Electric Co | 60441 | Salem Smart Power Center | OR | Marion | SSPC | SB | Batteries | BA | Electric Utility | 1 | 5 | 5 | 5 | 8 | 2013 | 1.3 | 5 | 5 | LIB |  |  |  | 5 | BL |  | Y |  |  | Y |  | Y | Y
15500 | Puget Sound Energy Inc | 60444 | Glacier Battery Storage | WA | Whatcom | GLA | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2016 | 4.4 | 2 | 2 | LIB |  |  |  | 2 | CT | Y | Y | Y | Y |  |  | Y |  |  | Y
50174 | Electric Transmission Texas LLC | 60506 | ETT Presidio NaS Battery | TX | Presidio | BOB | OP | Batteries | BA | IPP Non-CHP | 2 | 4 | 4 | 4 | 3 | 2010 | 4 | 4 | 4 | NAB |  |  |  | 4 | BL | [9 empty] | Y
7601 | Green Mountain Power Corp | 60518 | Stafford Hill Solar | VT | Rutland | BA1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2015 | 3.4 | 2 | 2 | LIB | PBB |  |  | 500 | CS |  | Y |  |  |  |  | Y
7140 | Georgia Power Co | 60561 | Cedartown Battery Energy Storage Project | GA | Polk | 1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2015 | 2 | 1 | 1 | LIB |  |  |  | 1.5 | CT |  |  | N |  | Y | Y | Y | Y | N |  | Y
10433 | Kodiak Electric Assn Inc | 60563 | Flywheel Energy Storage System | AK | Kodiak Island | FESS | OP | Flywheels | FW | Electric Utility | 1 | 2 | 2 | 2 | 9 | 2015 | 2 | 2 | 2 |  |  |  |  | 2 | CS |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
60336 | SDGE Batteries | 60565 | Borrego Springs Energy Storage | CA | San Diego | SES1 | OP | Batteries | BA | Electric Utility | 1 | 0.5 | 0.5 | 0.5 | 12 | 2012 | 1.5 | 0.5 | 0.5 | LIB |  |  |  | 1.5 | CS | N | [5 empty] | Y |  |  | Y
60336 | SDGE Batteries | 60565 | Borrego Springs Energy Storage | CA | San Diego | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 2 | 2014 | 3 | 1 | 1 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | Y
60336 | SDGE Batteries | 60566 | Pala Energy Storage Yard | CA | San Diego | SES1 | OP | Batteries | BA | Electric Utility | 1 | 0.5 | 0.5 | 0.5 | 12 | 2012 | 1.5 | 0.5 | 0.5 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | Y | Y
60336 | SDGE Batteries | 60566 | Pala Energy Storage Yard | CA | San Diego | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 8 | 2015 | 2 | 1 | 1 | LIB |  |  |  | 1.5 | CS | [6 empty] | Y |  |  | Y | Y
60336 | SDGE Batteries | 60567 | Ortega Highway Energy Storage | CA | Orange | SES1 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 5 | 2015 | 3 | 1 | 1 | LIB |  |  |  | 2 | CS | [6 empty] | Y | Y |  | Y
60336 | SDGE Batteries | 60567 | Ortega Highway Energy Storage | CA | Orange | SES2 | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2015 | 3 | 1 | 1 | LIB |  |  |  | 2 | CS | [6 empty] | Y | Y |  | Y
60336 | SDGE Batteries | 60568 | Canyon Crest Academy | CA | San Diego | SES | OP | Batteries | BA | Electric Utility | 1 | 1 | 1 | 1 | 10 | 2014 | 3 | 1 | 1 | LIB |  |  |  | 1 | CS | [6 empty] | Y | Y |  | Y
60947 | Tesla Inc. | 60609 | CMEEC - Norwich Stott St Solar | CT | New London | BA1 | OP | Batteries | BA | IPP Non-CHP | 2 | 0.8 | 0.8 | 0.8 | 12 | 2016 | 3 | 0.8 | 0.8 | LIB |  |  |  | 1 | CS | [6 empty] | N |  |  | Y | Y
9324 | Indiana Michigan Power Co | 60617 | AEP Churubusco NaS | IN | Whitley | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 1 | 2009 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
14006 | Ohio Power Co | 60618 | AEP Bluffton NaS | OH | Allen | 1 | OP | Batteries | BA | Electric Utility | 1 | 2 | 2 | 2 | 12 | 2008 | 2 | 2 | 2 | NAB |  |  |  | 2 | CS | [7 empty] | Y
57170 | EDF Renewable Asset Holdings, Inc. | 60656 | McHenry Battery Storage | IL | McHenry | MCH1 | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 2 | 2016 | 7.8 | 19.8 | 19.8 | LIB |  |  |  | 19.2 | CS |  | Y
60394 | Willey Battery Utility, LLC | 60660 | Willey Battery Utility | OH | Hamilton | WBU | OP | Batteries | BA | IPP Non-CHP | 2 | 6 | 6 | 6 | 1 | 2016 | 34.2 | 35.6 | 36.6 | LIB |  |  |  | 0 | CS |  | Y
17609 | Southern California Edison Co | 60661 | Mira Loma Energy Storage Facility | CA | San Bernardino | 013A | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 40 | 10 | 10 | LIB |  |  |  | 3.3 | CS | Y | Y | Y | Y |  | Y | Y | Y | Y
17609 | Southern California Edison Co | 60661 | Mira Loma Energy Storage Facility | CA | San Bernardino | 013B | OP | Batteries | BA | Electric Utility | 1 | 10 | 10 | 10 | 12 | 2016 | 40 | 10 | 10 | LIB |  |  |  | 3.3 | CS | Y | Y | Y | Y |  | Y | Y | Y | Y
20169 | Avista Corp | 60675 | Turner Energy Storage Project | WA | Whitman | TES | OP | Batteries | BA | Electric Utility | 1 | 1.2 | 1.2 | 1.2 | 4 | 2014 | 3.2 | 1.2 | 1.2 | FLB |  |  |  | 1 | CS | Y | Y | Y | Y | Y |  | Y | Y | Y |  | Y
60450 | Powin Energy | 60760 | Millikan BESS | CA | Orange | PE101 | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 12 | 2016 | 8 | 2 | 2 | LIB |  |  |  | 2 | BL | Y | Y |  |  |  |  | Y
58702 | AES Energy Storage | 60811 | AES ADA Energy Storage Array | PA | Montgomery | ADA | OP | Batteries | BA | IPP Non-CHP | 2 | 2 | 2 | 2 | 10 | 2013 | 0.3 | 2 | 2 | LIB |  |  |  | 2 | CS |  | N |  | Y

## Retired and Canceled
2016 Form EIA-860 Data - Schedule 3, 'Energy Storage Data' (Retired & Canceled Units Only)
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Retirement Month | Retirement Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
59155 | First Wind O&M, LLC | 57087 | Kahuku Wind Power LLC | HI | Honolulu | 2 | RE | Batteries | BA | IPP Non-CHP | 2 | 15 | 15 | 15 | 8 | 2013 | 15
57031 | Beacon Power LLC | 57711 | Beacon Power Flywheel System 1 | MA | Middlesex | TYN1 | RE | Flywheels | FW | IPP Non-CHP | 2 | 1 | 1 | 1 | 3 | 2015
57031 | Beacon Power LLC | 57712 | Beacon Power Flywheel System 2 | MA | Middlesex | TYN2 | RE | Flywheels | FW | IPP Non-CHP | 2 | 2 | 2 | 2 | 8 | 2016
57031 | Beacon Power LLC | 58291 | Tehachapi Spindle | CA | Kern | TS1 | CN | Flywheels | FW | IPP Non-CHP | 2 | 20 | 20 | 20